## Inspections
Insepector | Date_Insp | Insp_Res | Insp_Type | Comments | Street | City | State | ZIP
Jason | 2023-01-10 | Pass | Electrical | None | 5818 Humphries St | Trippville | Georgia | 30106
Nathaniel | 2023-01-12 | Pass | Foundation | Slab | 5655 Mulberry St | Trippville | Georgia | 30106
Jason | 2023-02-14 | Fail | Electrical | No proper ground | 2628 Carol Way | Trippville | Georgia | 30168
Nathaniel | 2023-02-20 | Pass | Erosion |  | 2769 Jefferson St | Trippville | Georgia | 30168
Jason | 2023-07-07 | Pass | Plumbing |  | 2577 Joe Jerkins Blvd | Trippville | Georgia | 30106
Tripp | 2023-06-13 | Fail | Fire Pro | Sprinkler system not working | 2418 Morningside Dr | Trippville | Georgia | 30106
Nathaniel | 2023-05-23 | Fail | Foundation | Did not meet FEMA Flood requirements. | 5471 Austell Powder Springs Rd | Trippville | Georgia | 30106
Tim | 2023-07-05 | Pass | Building |  | 3115 Pacific Ave | Trippville | Georgia | 30106
Jason | 2023-04-18 | Pass | CO |  | 3018 Millstone Ct | Trippville | Georgia | 30106
Tim | 2023-03-29 | Pass | GreaseTrap |  | 5565 Fessenden Ave | Trippville | Georgia | 30106
Jason | 2023-05-22 | Fail | Electical | Did not meet code. Too much load on single circuit. | 2662 Bill Mark | Trippville | Georgia | 30168
Tim | 2023-02-23 | Pass | Building | None | 2326 Jones Rd | Trippville | Georgia | 30106
Nathaniel | 2023-07-10 | Pass | Erosion | Inspected after heavy rain. | 2352 Jones Rd | Trippville | Georgia | 30106
Tripp | 2023-06-14 | Fail | CO | Electric Service not connected. Driveway not poured. | 3046 Mature Pass | Trippville | GA | 30106
Jason | 2023-05-24 | Pass | Electrical |  | 6360 Humphries Hill Rd | Trippville | Georgia | 30106
Tripp | 2023-05-25 | Pass | Plumbing |  | 24 WORTHINGTON DR | Trippville | Georgia | 30127
Tim | 2023-05-17 | Pass | Foundation | basement | 107 WHEATFIELD LN | Trippville | Georgia | 30127
Nathaniel | 2023-02-10 | Fail | Electrical | Breakers failed test | 2779 Clay Rd | Trippville | Georgia | 30106
Tripp | 2023-06-20 | Pass | Electrical |  | 3398 Cypress Club Trl | Trippville | Georgia | 30106
Tripp | 2023-06-28 | Pass | Erosion | Sunny dry day | 2370 Clay Rd | Trippville | Georgia | 30106
Tripp | 2023-06-05 | Pass | GreaseTrap |  | 2628 Jefferson S | Trippville | Georgia | 30168
Nathaniel | 2023-05-23 | Fail | GreaseTrap | Trap full. Needs to be cleaned out. | 2783 Jefferson St | Trippville | Georgia | 30168
Nathaniel | 2023-05-30 | Pass | GreaseTrap | Reinspection. Trap has been cleaned out. | 2783 Jefferson St | Trippville | Georgia | 30168
Tripp | 2023-07-12 | Pass | Pool |  | 5919 Love St | Trippville | Georgia | 30168
Tim | 2023-07-14 | Pass | Electrical |  | 5822 Austell Powder Springs Rd | Trippville | Georgia | 30106
Nathaniel | 2023-07-03 | Pass | Pool |  | 5891 Brown St | Trippville | Georgia | 30168